## Audit
Dental Radiography Audit
Retrospective audit of intra-oral radiographs per clinician: justification, image quality grading, clinical evaluation and repeats. 20 images (bitewings and periapicals). Targets: at least 95% of digital and 90% of film images diagnostically acceptable (A).
Practice name | [Practice Name] | [9 empty] | Audit date |  | [Date]
Auditor (name and role) | [Auditor] | [9 empty] | Auditor GDC number |  | [GDC Number]
Clinician(s) audited | [Clinician Name] | [9 empty] | Clinician GDC / performer number |  | [Performer Number]
Audit cycle | Cycle 1 (baseline) | [9 empty] | Period of records reviewed |  | [Start date] to [End date]
Gold standard target (%) | 95% | [9 empty] | Re-audit interval (months) |  | 6
Planned re-audit date | [10 empty] | Imaging system(s) |  | [Digital sensor / PSP / film]
Responses: Yes = criterion met ¦ No = not met ¦ N/A = not applicable (excluded from scores). Shaded grey cells calculate automatically. Full instructions are on the Guidance tab.
Criterion (Image number →) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Yes | Partial | No | Score % | Status
Record details (not scored)
Patient reference (anonymised)
Date of image
Reason for attendance
Image type
Receptor
Region
A. Identification
1. The image is attached to the correct patient record, dated and correctly orientated
B. Justification and frequency
2. The exposure was justified for the situation (new patient, risk-based recall interval, or the presenting problem)
3. The justification was recorded in the clinical notes
C. Image quality
4. A quality grade (A = acceptable / N = not acceptable) was recorded
5. No coning-off (cone cut) affecting the area of interest
6. Density and contrast are adequate for diagnosis
7. No significant distortion (elongation, foreshortening, receptor bending)
8. Bitewing: contact points are open, with no overlap that affects diagnosis (N/A for periapicals)
9. Bitewing: crowns of the premolars and molars present are captured (N/A for periapicals)
10. Bitewing: the alveolar crest / inter-radicular area is visible (N/A for periapicals)
11. Periapical: the whole tooth, including the apex, is visible (N/A for bitewings)
12. Periapical: enough bone is shown beyond the apex to assess the periapical tissues (N/A for bitewings)
D. Evaluation and outcome
13. A clinical evaluation (report) of the image was recorded
14. Auditor's overall judgement: the image is diagnostically acceptable (A) ★
15. The grade recorded by the operator agrees with the auditor's grade
16. The image did not need to be repeated
17. If the image was repeated, the reason was recorded (N/A if not repeated)
Per-image results (automatic)
Yes responses
Partial responses
No responses
Score for this image (%)
All criteria met for this image?
All key standards (★) met for this image?
RESULTS SUMMARY
Images audited
Criterion responses assessed (excluding N/A)
Overall compliance score (Partial = 0.5)
Strict compliance (Yes responses only)
Images meeting every criterion
Criteria scoring below target
% of images judged diagnostically acceptable (★)
Gold standard achieved? (key standards vs target)
Results by section | Yes |  | Partial |  | No |  | Score % |  | Status
A. Identification
B. Justification and frequency
C. Image quality
D. Evaluation and outcome
Diagnostically acceptable (A) rate by receptor | Assessed |  | Compliant |  | Score % |  | Target |  | Status
Digital | [6 empty] | 95%
Film | [6 empty] | 90%
Targets from the 2020 Guidance Notes for dental practitioners on the safe use of X-ray equipment: at least 95% of digital and 90% of film images graded A. Where a practice serves patient groups for whom these targets are not realistic, it should set its own targets with its Medical Physics Expert and document why.
FINDINGS
Strengths / areas of good practice identified
1.
2.
3.
Areas for improvement identified
1.
2.
3.
4.
5.
ACTION PLAN
Issue / shortfall identified | Agreed action | [7 empty] | Lead |  | Priority | Target date |  | Status |  | Progress / review notes
1.
2.
3.
4.
5.
6.
7.
8.
SHARING AND SIGN-OFF
Results presented to the team on | [Date]
Attendees | [Names / roles]
Audit lead signature | [Name, signature]
Clinical lead / registered manager sign-off | [Name, signature, date]
Planned re-audit date

## Guidance
Dental Radiography Audit – Guidance
How to use this audit tool, the standards it measures and the sources behind them. Review the references before each audit cycle in case guidance has been updated.
1. Purpose and scope
This audit reviews the clinical quality of intra-oral radiographs taken by an individual clinician (an IR(ME)R operator or practitioner). It covers whether each exposure was justified, whether the image was correctly identified, graded and clinically evaluated, and why any repeats were taken. It supports the practice's radiation-protection quality assurance (QA) programme and the requirement for clinical audit.
Expected benefits: better diagnostic image quality, consistent diagnostic information with doses kept as low as reasonably practicable, fewer repeat exposures, better recording of justification, grading and evaluation, and evidence for the QA programme.
2. Who can complete it
A clinician who is adequately trained and experienced in taking and interpreting the types of radiograph being audited. Peer review, where one dentist audits another's images, works well. The person auditing should not normally audit only their own images without peer input.
3. Standards and criteria
• | Legislation: the Ionising Radiations Regulations 2017 (IRR17); the Ionising Radiation (Medical Exposure) Regulations 2017 (IR(ME)R), as amended in 2018.
• | Guidance Notes for Dental Practitioners on the Safe Use of X-ray Equipment, 2nd edition (2020, PHE now UKHSA, with FGDP(UK) now the College of General Dentistry). This guidance uses a two-point quality scale: 'A' (diagnostically acceptable: no or minimal errors and good enough to answer the clinical question) or 'N' (not acceptable). The targets are at least 95% A for digital images (no more than 5% N) and at least 90% A for film (no more than 10% N).
• | The same guidance advises analysing image quality at least every six months, with a sample of at least 100 images unless the workload is too low, reporting each imaging modality separately. For every N-graded image, record the date, the deficiency, its likely cause and any repeats. Analyse these reject records at the same six-monthly interval. The person responsible for the QA programme should review the whole programme at least every three years.
• | Selection Criteria for Dental Radiography, 3rd edition (2018): radiographs must be justified for the individual patient. Bitewing intervals depend on caries risk (for adults: about 6-monthly for high risk, annually for moderate risk, about 2-yearly for low risk), and no routine radiographs should be taken without a clinical indication.
• | The CQC Dental Mythbuster 3 (Dental radiography and X-rays, updated 2025) lists what inspectors check, including RPA/MPE arrangements, HSE registration, the radiation protection file, equipment QA, maintenance and staff training.
4. Sample selection and size
• | For each clinician, take the 20 most recent radiographs from the last six months, chosen at random to include both bitewings and periapicals, for example 10 from urgent attendances and 10 from routine care. The records should reflect how the clinician currently works.
• | Treat a repeated radiograph as a separate image in its own column.
• | This 20-image clinician audit complements, and does not replace, the practice-wide six-monthly image quality analysis of at least 100 images described above. Copy the workbook for more images or additional clinicians.
5. How to complete the tool
• | View film on a suitable light box with a magnifier. View digital images on a suitable screen in low ambient light.
• | Complete the header, then the record details for each image (patient reference, date, reason for attendance, image type, receptor and region).
• | Answer each criterion with Yes, No or N/A. Every criterion is worded so that Yes means the standard was met (for example 'No coning-off'). Use N/A for bitewing-only items on periapicals and the reverse.
• | Criterion 14 (★) is your own A/N judgement. The tool uses it to work out the acceptable rate for digital and film images separately and compares each with its target.
6. Interpreting results and typical improvements
• | Image quality: check the condition of sensors and phosphor plates, use beam-aiming devices and receptor holders, and review exposure settings with the RPA/MPE.
• | Recording: recording justification, quality grading and a clinical evaluation report for every exposure.
• | Training needs for operators.
• | The results may suggest further audits, for example of the quality of clinical evaluation reports, or of under-use of radiographs where they were indicated.
7. Action plan, sharing and re-audit
• | Discuss the results with each clinician audited and, where helpful, with the whole team. Agree and record the actions.
• | Re-audit after about six months (the tool default) to confirm the changes have worked. This matches the six-monthly image quality analysis cycle.
8. Before you start
• | Agree with the team why the audit is being done, who will collect the data, when the results will be discussed and how changes will be followed up.
• | Use anonymised references only (for example a practice audit code). Do not enter names, full dates of birth or NHS numbers. Keep any key linking codes to patients separately and securely.
• | Never write audit findings into the patient's clinical record.
• | Confirm or adjust the gold standard target in the header before you start, and record why if you change it.
9. Regulatory and professional context
• | Care Quality Commission (CQC): Regulation 17 (Good governance) of the Health and Social Care Act 2008 (Regulated Activities) Regulations 2014 requires providers to assess, monitor and improve the quality and safety of their services. A completed audit cycle with an action plan and re-audit is good evidence for this, and for the CQC assessment areas covering learning culture, evidence-based care and monitoring outcomes.
• | General Dental Council (GDC): the Standards for the Dental Team (2013) remain in force. They expect registrants to keep complete, accurate and contemporaneous records (Standard 4.1) and to give good quality care based on current evidence and authoritative guidance (Standard 7.1). The GDC consulted on a replacement 'Framework for Professionalism' from June to August 2026. Check the GDC website for its status before relying on specific standard numbers.
• | Clinical audit also counts towards a clinician's quality-improvement activity and verifiable CPD, if it is planned, reflected on and documented.
• | CQC considers radiography under Regulation 12 (Safe care and treatment) and Regulation 15 (Premises and equipment). Under IR(ME)R, the employer's procedures must provide for clinical audit, and each exposure must be justified and clinically evaluated, with the evaluation recorded.
10. References (check for updates before use)
UKHSA / College of General Dentistry. Guidance Notes for Dental Practitioners on the Safe Use of X-ray Equipment, 2nd edition (2020).
https://cgdent.uk/safe-use-of-x-ray-equipment/
College of General Dentistry. Selection Criteria for Dental Radiography, 3rd edition (2018).
https://cgdent.uk/selection-criteria-for-dental-radiography/
The Ionising Radiation (Medical Exposure) Regulations 2017.
https://www.legislation.gov.uk/uksi/2017/1322/contents/made
The Ionising Radiations Regulations 2017.
https://www.legislation.gov.uk/uksi/2017/1075/contents/made
CQC. Dental mythbuster 3: Dental radiography and X-rays.
https://www.cqc.org.uk/guidance-regulation/dentists/mythbusters-tips-dentists/dental-mythbuster-3-dental-radiography-x-rays
GDC. Standards for the Dental Team.
https://www.gdc-uk.org/standards-guidance/standards-and-guidance/standards-for-the-dental-team
Template version 1.0 (October 2026). This is a generic template: adapt the criteria, targets and sample size to the practice and record any local changes here. It does not replace professional judgement or the source guidance.